COURSE OUTLINE

Title:	Related Plumbing Codes	Course Number:	APR-187PB

Credits:	3

Date:   	July 2008

Institution:	Clackamas Community College

Outline Developed by:	JATC (Mike Ditty)/Apprenticeship Dept.

Type of program:	Occupational Preparatory/Apprenticeship

Course Description:		Building Code and Mechanical Code requirements that affect plumbing

installations including a review of Fire and Life-Safety Codes relative to 	plumbing installation.

Course Objectives:

Instructor will:

- Present building categories by type of construction.

- Present single and multifamily dwelling fire-rated areas and plumbing installation requirements

- Present building design for fire-safety and escape.  Teach building exiting requirements for plumbing piping and equipment installation

- Demonstrate proper installation of fire sealants to maintain fire assembly rating (Lab required)

- Present Structural requirements for cutting, boring and notching joists, beams, and other structural members.

Student Learning Outcomes:

The student will be able to:

- Recognize types of building construction and occupancies

- Apply Fire and Life Safety requirements relative to plumbing systems within a building.

- Apply the requirements for cutting, boring and notching beams, joists, studs, glu-lams and walls for piping installation.

- Identify different structural members and their use in building construction.

- Identify fire-rated walls and ceiling, and be proficient in fire caulking and sealing plumbing penetrations in fire-rated assemblies.

Length of Course:         	33 lecture hours

Grading Method:	Letter grade (A-F)

Prerequisites:	None

Required Text:	Oregon Plumbing Specialty Code and related instructor handouts

Major Topic Outline:

- Fire, Life Safety Code requirements & building design for fire escape, corridors and stairways.

- Fire resistive assemblies, building types and occupancies.

- Construction materials and structural members: grade beams, footings, framing members and types of construction.  Shear walls, beams, trusses, joists, headers & glu-lams.

- Piping Penetrations & Fire stopping.

- Cutting, boring and notching.