Course Outline

Title:	Electronic Test Equipment & Soldering	Course Number:  EET 112

Credits:  3

Date:	Spring 2009

Institution:	Clackamas Community College

Outline Developed by:	Wayne Sellevaag, Last modified by Jim Stager

Microelectronics Systems Technology Associates Degree

and Electronics Systems Technology Associates Degree

Type of Program:	Occupational Preparatory

Course Description:

This course is designed to provide the participants with a basic understanding of the operation, accuracy and set-up of general electronic test equipment.  Students will set-up, operate, make measurements and compare accuracies using a digital multi-meter (volts, ohms, amps), function generator, bench-top power supply and a digital storage oscilloscope.  An introduction to soldering is also included.

Course Objectives:

This course is intended to:

- Provide a basic understanding of measurement capabilities, set-up, and operation of basic electronic test equipment.

- Provide knowledge and opportunity to gain experience in selection and use of some test equipment and to obtain successful measurements.

- Provide opportunities for the students to analyze real circuits, trace some circuit parameters and make live measurements.

Student Learning Outcomes:

At the successful conclusion of this course the student should be able to:

- Demonstrate safe and proper equipment operation.

- Utilize and understand vocabulary specific to the equipment.

- Identify and understand equipment capabilities and limits.

- Measure various circuit parameters and state the meaning of the measurements.

- Set-up and calibrate an oscilloscope test probe.

- Use a function generator with an oscilloscope to measure circuit bandwidth.

- Set up an actual circuit test bench using a variable power supply, oscilloscope, function generator and multi-meter.

Length of Course:	33 lecture hours

Grading Method:	Letter Grade (A-F) or Pass/No Pass

Prerequisites:		None

Text:	None  (Instrument manuals shared in class)

Major Topic Outline:

- Electronic Circuit Measurements

- Digital Storage Oscilloscope

- Function Generator

- Digital Multi-meters and Analog Ohmmeters

- Bench top Power Supply

- Soldering