Course Outline

Title:	Fundamental Substation Wireman III	Course Number:	APR-123UW

Credits:	5

Date:	May 2011

Institution: 	Clackamas Community College

Outline Developed by: 	NJATC, Portland General Electric, & Mackey Training Solutions

Type of Program: 	CTE Apprenticeship

Course Description:

Fundamental Station-Substation Construction and Maintenance Wireman III students will develop a journey level understanding of cable slicing, fiber optic cables and power transformer maintenance while beginning detailed studies of other major substation equipment. This course is part of the NJATC Substation Curriculum.

Course Objectives:

- Review detailed information on cable splicing

- Discuss detailed transformer information

- Demonstrate or explain the most common transformer tests

- Discuss fiber optic installation practices

- Present Environmental Protection Agency oil leak requirements

- Review power circuit breaker basics

- Present detailed information on power circuit breaker operating mechanisms

- Demonstrate various power circuit breaker tests

- Detail steps to troubleshoot power circuit breakers, capacitors, and voltage regulators

- Introduce students to static Volt Ampere Reactive (VAR) compensators, Gas Insulated Substations (GIS) substations, and alternative energy sources

Student Learning Outcomes:

Upon successful completion of this course the student should be able to:

- Describe a power transformer inspection

- Perform a transformer turns ratio, power factor, insulation and resistance test

- Explain the basics of Sulfur Hexafluoride (SF6) gas handling and leak detection

- Cite EPA Oil leak requirements

- Explain how fiber optic cables are installed

- Explain how to test power transformer pressure relays

- List the steps to maintain a transformer tap changer

- Describe various types of power circuit breaker operating mechanisms

- Explain how power circuit breakers are inspected, maintained, and tested

- List procedures to troubleshoot capacitor banks and substation bus

- Identify typical substation bus configurations

- Explain how static VAR compensators maintain system voltage and reactive levels

- List alternative energy sources

Length of Course:	55 lecture hours

Grading Method:	Letter grade (A-F) or Pass/No Pass

Prerequisites:	Pass APR-122UW

Major Topic Outline:

Unit 3-3

Cable Splicing  – Safety

Cable Splicing  – Materials and Tools

Cable Splicing  - Cable Preparation

Cable Splicing  – Terminations

Cable Splicing – Splicing

Cable Splicing – Elbows (Separable Connectors)

Cable Splicing – Grounding Cables

Cable Splicing – Insulation Testing

Cable Splicing – Introduction to Cable Fault Locating

Cable Splicing – Underground Troubleshooting

Cable Splicing  – Manufacturers Kits

Fiber Optics Overview

Fiber Optic Cables

Fiber Optic Joints

Installation Practices

Standards Overview

Unit 3-4

Power Transformer Principles

Power Transformers – Inspection

New Transformer

Inspection and Tests

Power Transformers – Tap Changers

Transformer Turns Ratio (TTR)

Transformer Oil Quality / Oil Filtration

Oil Breakdown Test

Dissolved Gas-in-Oil Analysis

DC High Potential Testing (Hi-Pot)

Insulation Power Factor Test

Insulation Resistance Test – Power Transformer/Breaker

Power Transformer Temperature Indicator Testing

Power Transformer Pressure Relay Testing

SF6  Gas – Installing and Handling

SF6  Gas – Leak Detection – Acoustic and Camera

Vacuum Bottle High Potential Testing

Environmental Protection Agency Oil Leak Required

Unit 3-5

Circuit Breaker Operation

Hydraulic Operating Mechanisms

Circuit Breaker Maintenance

New Circuit Breaker Inspections and Tests

Circuit Breaker Time-Travel Characteristics

Circuit Breaker Time-Travel Testing and Analysis

Contact Resistance Testing

CCC AAOT/ASOT GENERAL EDUCATION OUTCOMES 	Course Title and Number:    APR-123UW

COURSE OUTLINE MAPPING CHART	Fundamental Substation Wireman III

Mark outcomes addressed by this course:

- Mark “C” if this course completely addresses the outcome. Students who successfully complete this course are likely to have attained this learning outcome.

- Mark “S” if this course substantially addresses the outcome. More than one course is required for the outcome to be completely addressed. Students who successfully complete all of the required courses are likely to have attained this learning outcome.

- Mark “P” if this course partially addresses the outcome. Students will have been exposed to the outcome as part of the class, but the class is not a primary means for attaining the outcome and assessment for general education purposes may not be necessary.

As a result of completing the AAOT /ASOT general education requirements, students will be able to:

| WR: Writing Outcomes |  |
| --- | --- |
| 1. Read actively, think critically, and write purposefully and capably for academic and, in some cases, professional audiences. |  |
| 2. Locate, evaluate, and ethically utilize information to communicate effectively. | P |
| 3. Demonstrate appropriate reasoning in response to complex issues. | P |
| SP: Speech/Oral Communication Outcomes |  |
| 1. Engage in ethical communication processes that accomplish goals. | P |
| 2. Respond to the needs of diverse audiences and contexts. |  |
| 3. Build and manage relationships. |  |
| MA: Mathematics Outcomes |  |
| 1. Use appropriate mathematics to solve problems. | P |
| 2. Recognize which mathematical concepts are applicable to a scenario, apply appropriate mathematics and technology in its analysis, and then accurately interpret, validate, and communicate the results. | P |
| AL: Arts and Letters Outcomes |  |
| 1. Interpret and engage in the Arts & Letters, making use of the creative process to enrich the quality of life. |  |
| 2. Critically analyze values and ethics within a range of human experience and expression to engage more fully in local and global issues. |  |
| SS: Social Science Outcomes |  |
| 1. Apply analytical skills to social phenomena in order to understand human behavior. |  |
| 2. Apply knowledge and experience to foster personal growth and better appreciate the diverse social world in which we live. | P |
| SC: Science or Computer Science Outcomes |  |
| 1. Gather, comprehend, and communicate scientific and technical information in order to explore ideas, models, and solutions and generate further questions. | P |
| 2. Apply scientific and technical modes of inquiry, individually, and collaboratively, to critically evaluate existing or alternative explanations, solve problems, and make evidence-based decisions in an ethical manner. | P |
| 3. Assess the strengths and weaknesses of scientific studies and critically examine the influence of scientific and technical knowledge on human society and the environment. | P |
| CL: Cultural Literacy Outcome |  |
| 1. Identify and analyze complex practices, values, and beliefs and the culturally and historically defined meanings of difference. | P |
| IL: Information Literacy Outcomes |  |
| 1. Formulate a problem statement. | P |
| 2. Determine the nature and extent of the information needed to address the problem. | P |
| 3. Access relevant information effectively and efficiently. | P |
| 4. Evaluate information and its course critically. | P |
| 5. Understand many of the economic, legal, and social issues surrounding the use of information. | P |

# Endnotes

“Arts and Letters” refers to works of art, whether written, crafted, designed, or performed and documents of historical or cultural significance.

Must be embedded in a course that meets the outcomes for Arts and Letters, Social Science, or Science/Computer Science.

Must be embedded in the general education required Writing courses. Revised 2010-2011 to reflect Statewide AAOT outcomes