Course Outline

Title:	System Control and Data Acquisitions 	Course Number:	APR-116UW

(SCADA) Overview

Credits:	2

Date:	May 2011

Institution: 	Clackamas Community College

Outline Developed by: 	Portland General Electric

Type of Program: 	CTE Apprenticeship

Course Description:

Students will learn the job requirements of a SCADA technician and develop an understanding of the SCADA hardware used at the substations, in the field, and at the System Control Center.  The apprentice will be given an overview of how SCADA information is sent from the field to the System Control Center and the trouble shooting techniques used to resolve SCADA telemetry problems.

Course Objectives:

SCADA Technicians will show apprentices the following daily functions:

- Demonstrate how to maintain complex instrument and control equipment relating to SCADA at substation and other facilities.

- Explain the need to continually inspect, repair, calibrate and perform preventive maintenance of SCADA systems.

- Explain why the frequently test and maintain SCADA-related computer software and hardware, station networks and protocol translators to ensure equipment is functioning properly.

- Show the apprentice how to install settings into the main substation Programmable Logic Controllers (PLCs).

- Perform SCADA controls, statuses and analog checkout on new and existing substation equipment, including simulating inputs necessary to fully and accurately test devices providing data to the SCADA system.

- Explain how to verify metering quantities relating to SCADA.

- Discuss the importance of frequently testing and maintaining station remote terminal unit RTUs and related equipment.

- Demonstrate how to test and maintain various SCADA protocols and external interface Resistive Temperature Devices (RTDs).

- Demonstrate how to test and maintain various EMS components.

- Discuss the importance of SCADA Technicians being able to study independently to keep up with the changing technology and work effectively alone and with other technicians with only limited supervision.

- Emphasize the importance of SCADA Technicians being able and willing to frequently drive considerable distances, and being able and willing to respond to emergency call-outs at unscheduled hours and work on temporary assignments at other substation locations.

- Explain how SCADA Technicians “markup” as-built documentation for as-left conditions or for minor rework as necessary to ensure accurate drawings.

- Discuss the importance of SCADA Technicians being able and willing to attend vendor and other training schools as required.

- Show the apprentice and explain the daily function of System Control along with the Trading Floor located at 3WTC.

Student Learning Outcomes:

Upon successful completion of this course the student will be able to:

- Describe how SCADA Technicians maintain complex instrument and control equipment relating to SCADA at substation and other facilities.

- Describe how SCADA Technicians continually inspect, repair, calibrate and perform preventive maintenance of SCADA systems.

- Cite how SCADA Technicians frequently test and maintain SCADA-related computer software and hardware, station networks and protocol translators to ensure equipment is functioning properly.

- Explain how SCADA Technicians install settings into the main substation Programmable Logic Controllers (PLCs).

- Give examples of how SCADA Technicians perform SCADA controls, statuses and analog checkout on new and existing substation equipment, including simulating inputs necessary to fully and accurately test devices providing data to the SCADA system.

- Define how to verify metering quantities relating to SCADA.

- Explain why the importance of frequently testing and maintaining station (RTUs) and related equipment.

- State examples of how SCADA Technicians test and maintain various SCADA protocols and external interface devices (RTDs).

- Understand how SCADA Technicians test and maintain various EMS components.

- Integrate the importance of SCADA Technicians being able to study independently to keep up with the changing technology and work effectively alone and with other technicians with only limited supervision.

- Respect the importance of SCADA Technicians being able and willing to frequently drive considerable distances and being able and willing to respond to emergency call-outs at unscheduled hours and work on temporary assignments at other substation locations.

- Identify how SCADA Technicians “markup” as-built documentation for as-left conditions or for minor rework as necessary to ensure accurate drawings.

- Value the importance of SCADA Technicians attending vendor and other training schools as required.

- Describe the daily function of System Control along with the Trading Floor located at 3WTC.

Length of Course:	40 Lecture /Lab hours

Grading Method:	Pass/No Pass only

Prerequisites:	None

Major Topic Outline:

- Complex instrument and control equipment relating to SCADA at substation and other facilities.

- Inspect, repair, calibrate and perform preventive maintenance of SCADA systems.

- Computer software and hardware, station networks and protocol translators to ensure equipment is functioning properly.

- Programmable Logic Controllers (PLCs).

- SCADA controls, statuses and analog checkout on new and existing substation equipment.

- Metering quantities relating to SCADA.

- Station RTUs and related equipment.

- Protocols and external interface devices (RTDs).

- EMS components.

- Emergency call-outs at unscheduled hours.

- ‘Markup” as-built documentation.

- Attend vendor and other training schools as required.

- Trading Floor located at 3WTC.

CCC AAOT/ASOT GENERAL EDUCATION OUTCOMES 	Course Title and Number:    APR-116UW

COURSE OUTLINE MAPPING CHART	System Control and Data Acquisitions

(SCADA) Overview

Mark outcomes addressed by this course:

- Mark “C” if this course completely addresses the outcome. Students who successfully complete this course are likely to have attained this learning outcome.

- Mark “S” if this course substantially addresses the outcome. More than one course is required for the outcome to be completely addressed. Students who successfully complete all of the required courses are likely to have attained this learning outcome.

- Mark “P” if this course partially addresses the outcome. Students will have been exposed to the outcome as part of the class, but the class is not a primary means for attaining the outcome and assessment for general education purposes may not be necessary.

As a result of completing the AAOT /ASOT general education requirements, students will be able to:

| WR: Writing Outcomes |  |
| --- | --- |
| 1. Read actively, think critically, and write purposefully and capably for academic and, in some cases, professional audiences. |  |
| 2. Locate, evaluate, and ethically utilize information to communicate effectively. |  |
| 3. Demonstrate appropriate reasoning in response to complex issues. |  |
| SP: Speech/Oral Communication Outcomes |  |
| 1. Engage in ethical communication processes that accomplish goals. | P |
| 2. Respond to the needs of diverse audiences and contexts. |  |
| 3. Build and manage relationships. | P |
| MA: Mathematics Outcomes |  |
| 1. Use appropriate mathematics to solve problems. |  |
| 2. Recognize which mathematical concepts are applicable to a scenario, apply appropriate mathematics and technology in its analysis, and then accurately interpret, validate, and communicate the results. |  |
| AL: Arts and Letters Outcomes |  |
| 1. Interpret and engage in the Arts & Letters, making use of the creative process to enrich the quality of life. |  |
| 2. Critically analyze values and ethics within a range of human experience and expression to engage more fully in local and global issues. | P |
| SS: Social Science Outcomes |  |
| 1. Apply analytical skills to social phenomena in order to understand human behavior. |  |
| 2. Apply knowledge and experience to foster personal growth and better appreciate the diverse social world in which we live. |  |
| SC: Science or Computer Science Outcomes |  |
| 1. Gather, comprehend, and communicate scientific and technical information in order to explore ideas, models, and solutions and generate further questions. |  |
| 2. Apply scientific and technical modes of inquiry, individually, and collaboratively, to critically evaluate existing or alternative explanations, solve problems, and make evidence-based decisions in an ethical manner. |  |
| 3. Assess the strengths and weaknesses of scientific studies and critically examine the influence of scientific and technical knowledge on human society and the environment. |  |
| CL: Cultural Literacy Outcome |  |
| 1. Identify and analyze complex practices, values, and beliefs and the culturally and historically defined meanings of difference. | P |
| IL: Information Literacy Outcomes |  |
| 1. Formulate a problem statement. |  |
| 2. Determine the nature and extent of the information needed to address the problem. |  |
| 3. Access relevant information effectively and efficiently. | P |
| 4. Evaluate information and its course critically. |  |
| 5. Understand many of the economic, legal, and social issues surrounding the use of information. | P |

# Endnotes

“Arts and Letters” refers to works of art, whether written, crafted, designed, or performed and documents of historical or cultural significance.

Must be embedded in a course that meets the outcomes for Arts and Letters, Social Science, or Science/Computer Science.

Must be embedded in the general education required Writing courses. Revised 2010-2011 to reflect Statewide AAOT outcomes